## Readme
Performance Ranking by Index of Deviation of Reference Limits (PRIDe-RL)
Readme — how to use the tool and navigate the worksheets
Tool information and attribution
Tool |  |  | Performance Ranking by Index of Deviation of Reference Limits (PRIDe-RL)
Version |  |  | 1.0.0
Release date |  |  | 13 Feb 2025
Author |  |  | Alan Carvalho Dias
ORCID |  |  | https://orcid.org/0000-0002-7159-4593
Corresponding e-mail |  |  | alancdias@hotmail.com
Website |  |  | https://grupolabr.com
Repository / DOI |  |  | https://github.com/labrgrupo/Supplementary_Material_CCA_LabRI
System requirements |  |  | Microsoft Excel 365 or Excel 2021 (or later). The worksheet uses dynamic array functions (LET, SORT, SEQUENCE, TEXTJOIN, UNICHAR) that are unavailable in Excel 2016/2019 and may not behave identically in LibreOffice Calc.
1. What this tool does
PRIDe-RL (Performance Ranking by Index of Deviation of Reference Limits) compares indirect methods for estimating reference limits — TML, refineR, TMC, reflimR and LabRI — against a comparative reference interval. For each analyte, every estimated lower (LRL) and upper (URL) reference limit is expressed as a deviation in units of the permissible difference (pD). These deviations are combined into four performance dimensions and a single PRIDe-RL score (0 to 1, higher is better), which is used to rank the methods.
2. Quick start — step by step
Step 1 — Open 'Input Group 1' (real-world datasets) and/or 'Input Group 2' (simulated test cases). Both worksheets have the same structure.
Step 2 — In cell G5, select the nominal coverage probability (0.90 or 0.80) from the drop-down list. The significance level (α), the quantile order and the standard normal critical value z (G6:G8) update automatically.
Step 3 — From row 12 onwards, enter one analyte (or test case) per row: Test (B), Unit (C), sample size n (D), number of decimal places (E) and the comparative reference limits LRL and URL (F:G).
Step 4 — Enter the LRL and URL estimated by each method: TML (V:W), refineR (Z:AA), TMC (AD:AE), reflimR (AH:AI) and LabRI (AL:AM).
Step 5 — Columns H:T are calculated automatically (CVE, pCVA, median, pSDA, slope, intercept, pD and equivalence interval EI for each limit). The 1/0 columns next to each method indicate whether the estimate lies within the EI (1 = yes, 0 = no).
Step 6 — Review the 'Heatmap' worksheet for a visual overview of the deviations, then the 'PRIDE-RL ranking' worksheet for the final scores and ranks.
Tip — Leave unused cells empty (do not type 0). If the LRL is unknown or 0, the tool sets it at 15% of the URL for the CVE calculation. Abbreviations are explained below each input table.
3. Colour code
Light blue cells |  | User inputs — type or paste your data here.
Light yellow cells |  | Calculated automatically — do not overwrite (formulas).
Heatmap: green / yellow |  | Deviation within the equivalence interval (¦d¦ ≤ 1 pD); yellow = close to its edge.
Heatmap: orange / red |  | Deviation outside the equivalence interval (¦d¦ > 1 pD).
4. Worksheet guide — what each tab does (click a tab name to open it)
Worksheet |  | What it does |  | What you do there
Readme |  | This guide: purpose of the tool, step-by-step instructions, colour code, worksheet guide and interpretation of the results. |  | Read first.
Input Group 1 |  | Data entry and calculations for real-world datasets (12 analytes: AMY, Ca, LDH, TSH, FT4, ALT, GGT, RBC, Hb, WBC, LYM, PLT; rows 12–23). Derives CVE, pCVA, pSDA and the permissible difference (pD) for each reference limit, builds the equivalence interval (EI = RL ± pD), flags whether each method's estimate falls within the EI, and shows a preliminary ranking by % of limits within the EI (columns AQ:AV). |  | Choose the coverage probability (G5) and enter/edit the light blue input cells: analyte data, comparative reference limits and each method's estimates.
Input Group 2 |  | Same structure and calculations as Input Group 1, applied to simulated test cases (15 rows: test cases evaluated at different sample sizes; rows 12–26). |  | Same as Input Group 1.
Heatmap |  | Deviation of every method for every reference limit in pD units: d = (estimate − comparative RL) / pD. One row per limit (LRL and URL); rows 6–29 = Group 1, rows 30–59 = Group 2. Colours give a visual gestalt of method performance (¦d¦ ≤ 1 = within the EI). Includes a legend at the bottom. |  | Read only — fed automatically by the input worksheets.
PRIDE-RL ranking |  | Calculates the four performance dimensions (d1 Conformity, d2 Proximity, d3 Tail behaviour, d4 Severity), the PRIDe-RL score and the rank of each method for Group 1 (rows 5–12), Group 2 (rows 14–21) and globally, Group 1 + Group 2 (rows 23–30). 'Ord (tie-break)' gives a unique order when scores tie. |  | Read only — check the Rank column (1 = best) and the PRIDE-RL score.
PRIDe-RL scoring framework |  | Illustrated explanation (figures) of the scoring framework and of each of the four dimensions d1–d4. |  | Read to understand how the score is built.
References |  | Bibliography supporting the method (with links) and tool information: version, release date, author, ORCID, contact, repository/DOI and system requirements. |  | Consult and cite.
5. How the PRIDe-RL score is calculated
Deviation of each limit: d = (method estimate − comparative RL) / pD, where pD = z × pSDA at that limit (z depends on the coverage probability chosen in G5).
d1 — Conformity = proportion of reference limits with ¦d¦ ≤ 1 (estimate within the equivalence interval).
d2 — Proximity = 1 / (1 + mean ¦d¦): rewards estimates that are close to the comparative limit.
d3 — Tail behaviour = 1 / (1 + max(0, P90(¦d¦) − 1)): penalises methods whose 10% largest deviations exceed the EI.
d4 — Severity = 1 / (1 + 5 × n(¦d¦ > 2) / N): penalises severe deviations (more than twice the permissible difference).
PRIDe-RL score = (n_conf + (d2 × d3 × d4)^(1/3)) / (N + 1), where n_conf is the number of limits with ¦d¦ ≤ 1 and N the number of limits evaluated. Conformity is decisive: because n_conf is an integer and the geometric mean of d2–d4 lies between 0 and 1, the other dimensions can never outweigh one additional conforming limit — they only break ties between methods with the same number of conforming limits. The score ranges from 0 to 1 (1 = all limits conforming and d2 = d3 = d4 = 1).
6. Interpreting the results
¦d¦ ≤ 1: estimate equivalent to the comparative reference limit. 1 < ¦d¦ ≤ 2: outside the EI (moderate deviation). ¦d¦ > 2: severe deviation.
Rank 1 is the best-performing method. Compare the Group 1, Group 2 and Global tables to check whether the ranking is consistent between real-world and simulated data.
Use the Heatmap to identify which analytes or limits (LRL vs URL) drive a method's lower score.
7. Navigation tips and requirements
Navigate with the hyperlinks in Section 4, by clicking the tabs at the bottom of the window, or with Ctrl + Page Down / Ctrl + Page Up.
Ranges are fixed: Group 1 uses rows 12–23 and Group 2 uses rows 12–26 of the input worksheets. If you add analytes beyond these rows, the Heatmap and PRIDE-RL ranking ranges must be extended accordingly.
Requirements: Microsoft Excel 365 or Excel 2021 (or later). The workbook uses dynamic array functions (LET, SORT, SEQUENCE, TEXTJOIN, UNICHAR) that are not available in Excel 2016/2019 and may not behave identically in LibreOffice Calc.

## Input Group 1
Performance Ranking by Index of Deviation of Reference Limits (PRIDe-RL)
A multidimensional framework for comparative evaluation and ranking of reference-limit estimation methods
Nominal coverage probability (or confidence level) |  |  |  |  | 90% | [8 empty] | 80%
Significance level (α) |  |  |  |  | 0.1 | [8 empty] | 90%
Cumulative probability (quantile order, 0.95) |  |  |  |  | 0.95 | Interpretation of the standard normal quantile
Standard normal quantile (critical value, z₀.₉₅) |  |  |  |  | 1.6449 | where z₀.₉₅ = 1.6449 is the standard normal quantile corresponding to a two-sided nominal coverage probability of 90%.
Test | Unit | n | Decimal places | Comparative Reference |  | CVE | pCVA | Med | pSDA,Med | Slope | Intercept | pSDA,LRL | pDLRL | EILRL | pSDA,URL | pDURL | EIURL | TML |  | TML LRL within EILRL | TML URL within EIURL | refineR |  | refineR LRL within EILRL | refineR URL within EIURL | TMC |  | TMC LRL within EILRL | TMC URL within EIURL | reflimR |  | reflimR LRL within EILRL | reflimR URL within EIURL | LabRI |  | LabRI LRL within EILRL | LabRI URL within EIURL
|  |  |  | LRL | URL | [12 empty] | LRL | URL | 1 = yes / 0 = no | 1 = yes / 0 = no | LRL | URL | 1 = yes / 0 = no | 1 = yes / 0 = no | LRL | URL | 1 = yes / 0 = no | 1 = yes / 0 = no | LRL | URL | 1 = yes / 0 = no | 1 = yes / 0 = no | LRL | URL | 1 = yes / 0 = no | 1 = yes / 0 = no
AMY | U/L | 533 | 0 | 47 | 164 | 32.71% | 5.697% | 87.7952 | 5.0019 | 0.045578 | 1.0004 | 3.1425 | 5.169 | 42 to 52 | 8.4751 | 13.9403 | 150 to 178 | 29.5 | 151 | 0 | 1 | 37.8 | 143 | 0 | 0 | 47.4 | 147 | 1 | 0 | 45.3 | 160.2 | 1 | 1 | 45 | 165 | 1 | 1
Ca | mmol/L | 533 | 2 | 2.19 | 2.57 | 4.083% | 1.958% | 2.3724 | 0.04645 | 0.015663 | 0.0092899 | 0.043593 | 0.071704 | 2,12 to 2,26 | 0.049545 | 0.081494 | 2,49 to 2,65 | 2.19 | 2.55 | 1 | 1 | 2.21 | 2.51 | 1 | 1 | 2.19 | 2.55 | 1 | 1 | 2.19 | 2.54 | 1 | 1 | 2.19 | 2.55 | 1 | 1
LDH | IU/L | 533 | 0 | 138 | 257 | 15.96% | 3.964% | 188.3242 | 7.4651 | 0.031712 | 1.493 | 5.8693 | 9.6541 | 128 to 148 | 9.643 | 15.8613 | 241 to 273 | 134 | 233 | 1 | 0 | 138 | 233 | 1 | 0 | 140 | 241 | 1 | 1 | 140 | 251 | 1 | 1 | 139 | 247 | 1 | 1
TSH | mIU/L | 533 | 2 | 0.61 | 4.86 | 56.88% | 7.525% | 1.7218 | 0.12957 | 0.060201 | 0.025914 | 0.062636 | 0.10303 | 0,51 to 0,71 | 0.31849 | 0.52387 | 4,34 to 5,38 | 0.6 | 4.03 | 1 | 0 | 0.52 | 3.22 | 1 | 0 | 0.59 | 4.63 | 1 | 1 | 0.55 | 4.59 | 1 | 1 | 0.54 | 4.76 | 1 | 1
FT4 | pmol/L | 533 | 1 | 7.8 | 14.1 | 15.19% | 3.865% | 10.4871 | 0.40535 | 0.030922 | 0.08107 | 0.32226 | 0.53007 | 7,3 to 8,3 | 0.51707 | 0.8505 | 13,2 to 15 | 6.76 | 13.9 | 0 | 1 | 7.92 | 13.3 | 1 | 1 | 7.54 | 13.8 | 1 | 1 | 7.9 | 14.1 | 1 | 1 | 7.5 | 13.7 | 1 | 1
ALT | U/L | 874 | 1 | 6.6 | 34.5 | 44.14% | 6.625% | 15.0897 | 0.99969 | 0.053 | 0.19994 | 0.54974 | 0.90424 | 5,7 to 7,5 | 2.0284 | 3.3365 | 31,2 to 37,8 | 5.7 | 35.5 | 1 | 1 | 8.87 | 34.7 | 0 | 1 | 9.94 | 34.2 | 0 | 1 | 5.9 | 35 | 1 | 1 | 6.7 | 35.4 | 1 | 1
GGT | U/L | 874 | 2 | 12.22 | 51.71 | 38.08% | 6.151% | 25.1375 | 1.5462 | 0.049206 | 0.30923 | 0.91053 | 1.4977 | 10,72 to 13,72 | 2.8537 | 4.6939 | 47,02 to 56,4 | 11.5 | 47.7 | 1 | 1 | 19.3 | 52.5 | 0 | 1 | 12.2 | 47.1 | 1 | 1 | 11.6 | 47.9 | 1 | 1 | 12.27 | 50.02 | 1 | 1 | Performance ranking
RBC | 10^6/μL | 992 | 2 | 3.97 | 6.28 | 11.74% | 3.39% | 4.9932 | 0.16925 | 0.027117 | 0.033849 | 0.1415 | 0.23275 | 3,74 to 4,2 | 0.20414 | 0.33578 | 5,94 to 6,62 | 3.77 | 6.19 | 1 | 1 | 4.05 | 6.32 | 1 | 1 | 3.95 | 6.2 | 1 | 1 | 3.77 | 6.24 | 1 | 1 | 3.97 | 6.25 | 1 | 1 | Method | Overall % of RLs within the EI | Rank | LRLs within EI / total | URLs within EI / total | Total within EI / total possible
Hb | g/dL | 992 | 2 | 10.6 | 17.34 | 12.6% | 3.515% | 13.5574 | 0.47654 | 0.02812 | 0.095307 | 0.39337 | 0.64704 | 9,95 to 11,25 | 0.5829 | 0.95878 | 16,38 to 18,3 | 10.8 | 18.9 | 1 | 0 | 11 | 17.2 | 1 | 1 | 11.3 | 17.3 | 0 | 1 | 10.9 | 17.5 | 1 | 1 | 10.77 | 17.3 | 1 | 1 | TML | 66.67% | 5 | 7/12 | 9/12 | 16/24
WBC | 10^3/μL | 992 | 2 | 3.16 | 7.73 | 23.12% | 4.782% | 4.9423 | 0.23636 | 0.038258 | 0.047271 | 0.16817 | 0.27661 | 2,88 to 3,44 | 0.34301 | 0.5642 | 7,17 to 8,29 | 3.65 | 7.77 | 0 | 1 | 3.18 | 8.09 | 1 | 1 | 3.34 | 8.05 | 1 | 1 | 3.32 | 8.17 | 1 | 1 | 3.25 | 8.15 | 1 | 1 | refineR | 75% | 4 | 9/12 | 9/12 | 18/24
LYM | 10^3/μL | 992 | 2 | 1.31 | 3.38 | 24.54% | 4.928% | 2.1042 | 0.1037 | 0.039426 | 0.02074 | 0.072388 | 0.11907 | 1,19 to 1,43 | 0.154 | 0.25331 | 3,13 to 3,63 | 0.96 | 3.27 | 0 | 1 | 1.31 | 3.58 | 1 | 1 | 1.36 | 3.41 | 1 | 1 | 1.36 | 3.61 | 1 | 1 | 1.23 | 3.19 | 1 | 1 | TMC | 87.5% | 3 | 10/12 | 11/12 | 21/24
PLT | 10^3/μL | 992 | 1 | 140.2 | 384 | 26.13% | 5.088% | 232.0276 | 11.8047 | 0.040701 | 2.3609 | 8.0672 | 13.2694 | 126,9 to 153,5 | 17.9901 | 29.5911 | 354,4 to 413,6 | 115 | 383 | 0 | 1 | 139 | 385 | 1 | 1 | 148 | 362 | 1 | 1 | 125 | 381 | 0 | 1 | 132 | 374 | 1 | 1 | reflimR | 95.83% | 2 | 11/12 | 12/12 | 23/24
[18 empty] | n TML LRL within EI |  | 7 | 9 | n refineR RLs within EI |  | 9 | 9 | n TMC RLs within EI |  | 10 | 11 | n reflimR RLs within EI |  | 11 | 12 | n LabRI RLs within EI |  | 12 | 12 | LabRI | 100% | 1 | 12/12 | 12/12 | 24/24
[18 empty] | % TML LRL within EI |  | 58.33% | 75% | % refineR RLs within EI |  | 75% | 75% | % TMC RLs within EI |  | 83.33% | 91.67% | % reflimR RLs within EI |  | 91.67% | 100% | % LabRI RLs within EI |  | 100% | 100%
[18 empty] | % TML RLs within EI (overall) |  | 66.67% |  | % refineR RLs within EI (overall) |  | 75% |  | % TMC RLs within EI (overall) |  | 87.5% |  | % reflimR RLs within EI (overall) |  | 95.83% |  | % LabRI RLs within EI (overall) |  | 100%
Abbreviations:
LRL: lower reference limit.
URL: upper reference limit.
CVE: empirical biological variation coefficient derived on the logarithmic scale from the reference interval. If the LRL is unknown, it is set at 15% of the URL for the CVE calculation.
pCVA: the permissible analytical coefficient of variation (CVA) at the median on the linear scale, obtained from the CVE.
Medln: median of the reference interval on the logarithmic scale.
pSDA,Med: permissible analytical standard deviation (SDA) at the median of the reference interval.
Slope: calculated from pSDA,Med and the median of the reference interval.
Intercept: related to the limit of detection. Because the limit of detection is usually unknown for the human material matrix, 20% of pSDA,Med is applied empirically here as a surrogate.
pSDA,LRL: permissible analytical standard deviation at the lower reference limit.
pSDA,URL: permissible analytical standard deviation at the upper reference limit.
pDLRL: permissible difference (pD) for the LRL, based on Haeckel's approach, which estimates the CVE from the reference interval provided by the user.
pDURL: permissible difference (pD) for the URL, based on Haeckel's approach, which estimates the CVE from the reference interval provided by the user.
EI: equivalence interval, the range around a reference limit within which an estimate of that same limit obtained by another approach is considered equivalent.
EILRL: equivalence interval of the lower reference limit (LRL ± pDLRL).
EIURL: equivalence interval of the upper reference limit (URL ± pDURL).
RL: reference limit, either the lower (LRL) or the upper (URL) reference limit.
APS: analytical performance specification.
TML: truncated maximum likelihood, an indirect approach for estimating reference limits from routine laboratory data.
TMC: truncated minimum chi-square, an indirect approach for estimating reference limits from routine laboratory data.
LabRI: Laboratory Reference Interval, an indirect approach for estimating reference limits from routine laboratory data.
refineR: R package for the indirect estimation of reference intervals from routine laboratory data.
reflimR: R package for the indirect estimation of reference intervals from routine laboratory data.
References
1 - R. Haeckel, T. Ammer, W. Wosniok, A. Krebs, A. Torge, M. Özcürümez, A. Bertram, Age-and sex-specific reference intervals of total cholesterol, LDL cholesterol, HDL cholesterol and non-HDL cholesterol. Comparison of two algorithms for the indirect estimation of reference intervals, Journal of Laboratory Medicine 47 (2023) 55–62. https://doi.org/10.1515/labmed-2022-0147. | [12 empty] | Link
2 - R. Haeckel, K. Adeli, G. Jones, K. Sikaris, W. Wosniok, Definitions and major prerequisites of direct and indirect approaches for estimating reference limits, Clinical Chemistry and Laboratory Medicine (CCLM) 61 (2023) 402–406. https://doi.org/10.1515/cclm-2022-1061. | [12 empty] | Link
4 - R. Haeckel, W. Wosniok, T. Streichert, Review of potentials and limitations of indirect approaches for estimating reference limits/intervals of quantitative procedures in laboratory medicine, Journal of Laboratory Medicine 45 (2021) 35–53. https://doi.org/10.1515/labmed-2020-0131. | [12 empty] | Link
5 - E. Gurr, R. Haeckel, M. Orth, T. Streichert, Festlegung der zulässigen Messunsicherheit quantitativer Messgrößen in der Laboratoriumsmedizin, LaboratoriumsMedizin 41 (2017) 53–58. https://doi.org/10.1515/labmed-2016-0079. | [12 empty] | Link
6 - R. Haeckel, W. Wosniok, F. Arzideh, Equivalence limits of reference intervals for partitioning of population data. Relevant differences of reference limits, LaboratoriumsMedizin 40 (2016) 199–205. https://doi.org/10.1515/labmed-2016-0002. | [12 empty] | Link
7 - R. Haeckel, E. Gurr, T. Keller, Permissible measurement uncertainty in the lower part of measurement intervals, LaboratoriumsMedizin 40 (2016) 271–276. https://doi.org/10.1515/labmed-2016-0006. | [12 empty] | Link
8 - R. Haeckel, W. Wosniok, E. Gurr, B. Peil, Permissible limits for uncertainty of measurement in laboratory medicine, Clinical Chemistry and Laboratory Medicine (CCLM) 53 (2015). https://doi.org/10.1515/cclm-2014-0874. | [12 empty] | Link
9 - R. Haeckel, W. Wosniok, T. Streichert, Optimizing the use of the “state-of-the-art” performance criteria, Clinical Chemistry and Laboratory Medicine (CCLM) 53 (2015). https://doi.org/10.1515/cclm-2014-1201. | [12 empty] | Link
10 - R. Haeckel, W. Wosniok, J. Kratochvila, A. Carobene, A pragmatic proposal for permissible limits in external quality assessment schemes with a compromise between biological variation and the state of the art, Clinical Chemistry and Laboratory Medicine 50 (2012). https://doi.org/10.1515/cclm-2011-0862. | [12 empty] | Link
Tool information and attribution
Tool |  |  |  | Performance Ranking by Index of Deviation of Reference Limits (PRIDe-RL)
Version |  |  |  | 1.0.0
Release date |  |  |  | 13 Feb 2025
Author |  |  |  | Alan Carvalho Dias
ORCID |  |  |  | https://orcid.org/0000-0002-7159-4593
Corresponding e-mail |  |  |  | alancdias@hotmail.com
Website |  |  |  | https://grupolabr.com
Repository / DOI |  |  |  | https://github.com/labrgrupo/Supplementary_Material_CCA_LabRI
System requirements |  |  |  | Microsoft Excel 365 or Excel 2021 (or later). The worksheet uses dynamic array functions (LET, SORT, SEQUENCE, TEXTJOIN, UNICHAR) that are unavailable in Excel 2016/2019 and may not behave identically in LibreOffice Calc.

## Input Group 2
Performance Ranking by Index of Deviation of Reference Limits (PRIDe-RL)
A multidimensional framework for comparative evaluation and ranking of reference-limit estimation methods
Nominal coverage probability (or confidence level) |  |  |  |  | 90% | [8 empty] | 80%
Significance level (α) |  |  |  |  | 0.1 | [8 empty] | 90%
Cumulative probability (quantile order, 0.95) |  |  |  |  | 0.95 | Interpretation of the standard normal quantile
Standard normal quantile (critical value, z₀.₉₅) |  |  |  |  | 1.6449 | where z₀.₉₅ = 1.6449 is the standard normal quantile corresponding to a two-sided nominal coverage probability of 90%.
Test | Unit | n | Decimal places | Comparative Reference |  | CVE | pCVA | Med | pSDA,Med | Slope | Intercept | pSDA,LRL | pDLRL | EILRL | pSDA,URL | pDURL | EIURL | TML |  | TML LRL within EILRL | TML URL within EIURL | refineR |  | refineR LRL within EILRL | refineR URL within EIURL | TMC |  | TMC LRL within EILRL | TMC URL within EIURL | reflimR |  | reflimR LRL within EILRL | reflimR URL within EIURL | LabRI |  | LabRI LRL within EILRL | LabRI URL within EIURL
|  |  |  | LRL | URL | [12 empty] | LRL | URL | 1 = yes / 0 = no | 1 = yes / 0 = no | LRL | URL | 1 = yes / 0 = no | 1 = yes / 0 = no | LRL | URL | 1 = yes / 0 = no | 1 = yes / 0 = no | LRL | URL | 1 = yes / 0 = no | 1 = yes / 0 = no | LRL | URL | 1 = yes / 0 = no | 1 = yes / 0 = no
Testcase1 | n/a | 500 | 1 | 10.2 | 29.8 | 27.87% | 5.255% | 17.4344 | 0.91626 | 0.042043 | 0.18325 | 0.61209 | 1.0068 | 9,2 to 11,2 | 1.4361 | 2.3622 | 27,4 to 32,2 | 12.1 | 32.7 | 0 | 0 | 11 | 31.2 | 1 | 1 | 10.4 | 30.3 | 1 | 1 | 11.2 | 29.9 | 1 | 1 | 10.8 | 30 | 1 | 1
Testcase1 | n/a | 1000 | 1 | 10.2 | 29.8 | 27.87% | 5.255% | 17.4344 | 0.91626 | 0.042043 | 0.18325 | 0.61209 | 1.0068 | 9,2 to 11,2 | 1.4361 | 2.3622 | 27,4 to 32,2 | 11.3 | 30.6 | 0 | 1 | 11.5 | 30.9 | 0 | 1 | 10.5 | 29.7 | 1 | 1 | 12.1 | 36.8 | 0 | 0 | 10.8 | 29.2 | 1 | 1
Testcase1 | n/a | 2000 | 1 | 10.2 | 29.8 | 27.87% | 5.255% | 17.4344 | 0.91626 | 0.042043 | 0.18325 | 0.61209 | 1.0068 | 9,2 to 11,2 | 1.4361 | 2.3622 | 27,4 to 32,2 | 10.3 | 29.8 | 1 | 1 | 11.1 | 30.2 | 1 | 1 | 10.6 | 29.7 | 1 | 1 | 12.5 | 34.7 | 0 | 0 | 10.8 | 28.6 | 1 | 1
Testcase1 | n/a | 5000 | 1 | 10.2 | 29.8 | 27.87% | 5.255% | 17.4344 | 0.91626 | 0.042043 | 0.18325 | 0.61209 | 1.0068 | 9,2 to 11,2 | 1.4361 | 2.3622 | 27,4 to 32,2 | 10.9 | 30.6 | 1 | 1 | 10.2 | 29.7 | 1 | 1 | 10.4 | 29.8 | 1 | 1 | 11.9 | 38.2 | 0 | 0 | 10.3 | 29.6 | 1 | 1
Testcase1 | n/a | 10000 | 1 | 10.2 | 29.8 | 27.87% | 5.255% | 17.4344 | 0.91626 | 0.042043 | 0.18325 | 0.61209 | 1.0068 | 9,2 to 11,2 | 1.4361 | 2.3622 | 27,4 to 32,2 | 13 | 31.6 | 0 | 1 | 10.3 | 29.9 | 1 | 1 | 10.3 | 29.8 | 1 | 1 | 12 | 37.8 | 0 | 0 | 10.4 | 29.5 | 1 | 1
Testcase2 | n/a | 500 | 1 | 59.8 | 160 | 25.51% | 5.026% | 97.8162 | 4.9159 | 0.040205 | 0.98318 | 3.3875 | 5.5719 | 54,2 to 65,4 | 7.416 | 12.1983 | 147,8 to 172,2 | 46.7 | 161 | 0 | 1 | 40 | 168 | 0 | 1 | 52.1 | 183 | 0 | 0 | 54 | 180 | 0 | 0 | 56 | 174.8 | 1 | 0
Testcase2 | n/a | 1000 | 1 | 59.8 | 160 | 25.51% | 5.026% | 97.8162 | 4.9159 | 0.040205 | 0.98318 | 3.3875 | 5.5719 | 54,2 to 65,4 | 7.416 | 12.1983 | 147,8 to 172,2 | 44.9 | 148 | 0 | 1 | 36.8 | 158 | 0 | 1 | 45.8 | 172 | 0 | 1 | 60 | 162 | 1 | 1 | 62.9 | 162.1 | 1 | 1
Testcase2 | n/a | 5000 | 1 | 59.8 | 160 | 25.51% | 5.026% | 97.8162 | 4.9159 | 0.040205 | 0.98318 | 3.3875 | 5.5719 | 54,2 to 65,4 | 7.416 | 12.1983 | 147,8 to 172,2 | 46.3 | 149 | 0 | 1 | 43.6 | 151 | 0 | 1 | 53.3 | 161 | 0 | 1 | 61 | 163 | 1 | 1 | 63.5 | 158.9 | 1 | 1
Testcase2 | n/a | 10000 | 1 | 59.8 | 160 | 25.51% | 5.026% | 97.8162 | 4.9159 | 0.040205 | 0.98318 | 3.3875 | 5.5719 | 54,2 to 65,4 | 7.416 | 12.1983 | 147,8 to 172,2 | 48.1 | 152 | 0 | 1 | 52 | 157 | 0 | 1 | 37.2 | 199 | 0 | 0 | 60 | 168 | 1 | 1 | 58.3 | 161.1 | 1 | 1
Testcase2 | n/a | 50000 | 1 | 59.8 | 160 | 25.51% | 5.026% | 97.8162 | 4.9159 | 0.040205 | 0.98318 | 3.3875 | 5.5719 | 54,2 to 65,4 | 7.416 | 12.1983 | 147,8 to 172,2 | 51.9 | 158 | 0 | 1 | 55.7 | 160 | 1 | 1 | 37.1 | 201 | 0 | 0 | 60 | 171 | 1 | 1 | 59.3 | 164 | 1 | 1
Testcase4 | n/a | 500 | 0 | 10 | 50 | 42.85% | 6.527% | 22.3607 | 1.4594 | 0.052215 | 0.29189 | 0.81404 | 1.339 | 9 to 11 | 2.9026 | 4.7744 | 45 to 55 | 10 | 49 | 1 | 1 | 9 | 45 | 1 | 1 | 9 | 46 | 1 | 1 | 10 | 49 | 1 | 1 | 8 | 50 | 0 | 1
Testcase4 | n/a | 1000 | 0 | 10 | 50 | 42.85% | 6.527% | 22.3607 | 1.4594 | 0.052215 | 0.29189 | 0.81404 | 1.339 | 9 to 11 | 2.9026 | 4.7744 | 45 to 55 | 10 | 46 | 1 | 1 | 9 | 43 | 1 | 0 | 10 | 50 | 1 | 1 | 10 | 48 | 1 | 1 | 9 | 50 | 1 | 1
Testcase4 | n/a | 5000 | 0 | 10 | 50 | 42.85% | 6.527% | 22.3607 | 1.4594 | 0.052215 | 0.29189 | 0.81404 | 1.339 | 9 to 11 | 2.9026 | 4.7744 | 45 to 55 | 8 | 42 | 0 | 0 | 8 | 43 | 0 | 0 | 11 | 46 | 1 | 1 | 10 | 48 | 1 | 1 | 8 | 43 | 0 | 0
Testcase4 | n/a | 10000 | 0 | 10 | 50 | 42.85% | 6.527% | 22.3607 | 1.4594 | 0.052215 | 0.29189 | 0.81404 | 1.339 | 9 to 11 | 2.9026 | 4.7744 | 45 to 55 | 10 | 46 | 1 | 1 | 9 | 45 | 1 | 1 | 10 | 48 | 1 | 1 | 10 | 49 | 1 | 1 | 10 | 47 | 1 | 1
Testcase4 | n/a | 100000 | 0 | 10 | 50 | 42.85% | 6.527% | 22.3607 | 1.4594 | 0.052215 | 0.29189 | 0.81404 | 1.339 | 9 to 11 | 2.9026 | 4.7744 | 45 to 55 | 10 | 50 | 1 | 1 | 10 | 50 | 1 | 1 | 10 | 50 | 1 | 1 | 10 | 50 | 1 | 1 | 10 | 50 | 1 | 1
[18 empty] | n TML LRL within EI |  | 6 | 13 | n refineR RLs within EI |  | 9 | 13 | n TMC RLs within EI |  | 10 | 12 | n reflimR RLs within EI |  | 10 | 10 | n LabRI RLs within EI |  | 13 | 13
[18 empty] | % TML LRL within EI |  | 40% | 86.67% | % refineR RLs within EI |  | 60% | 86.67% | % TMC RLs within EI |  | 66.67% | 80% | % reflimR RLs within EI |  | 66.67% | 66.67% | % LabRI RLs within EI |  | 86.67% | 86.67%
[18 empty] | % TML RLs within EI (overall) |  | 63.33% |  | % refineR RLs within EI (overall) |  | 73.33% |  | % TMC RLs within EI (overall) |  | 73.33% |  | % reflimR RLs within EI (overall) |  | 66.67% |  | % LabRI RLs within EI (overall) |  | 86.67%
Abbreviations:
LRL: lower reference limit.
URL: upper reference limit.
CVE: empirical biological variation coefficient derived on the logarithmic scale from the reference interval. If the LRL is unknown, it is set at 15% of the URL for the CVE calculation.
pCVA: the permissible analytical coefficient of variation (CVA) at the median on the linear scale, obtained from the CVE.
Medln: median of the reference interval on the logarithmic scale.
pSDA,Med: permissible analytical standard deviation (SDA) at the median of the reference interval.
Slope: calculated from pSDA,Med and the median of the reference interval.
Intercept: related to the limit of detection. Because the limit of detection is usually unknown for the human material matrix, 20% of pSDA,Med is applied empirically here as a surrogate.
pSDA,LRL: permissible analytical standard deviation at the lower reference limit.
pSDA,URL: permissible analytical standard deviation at the upper reference limit.
pDLRL: permissible difference (pD) for the LRL, based on Haeckel's approach, which estimates the CVE from the reference interval provided by the user.
pDURL: permissible difference (pD) for the URL, based on Haeckel's approach, which estimates the CVE from the reference interval provided by the user.
EI: equivalence interval, the range around a reference limit within which an estimate of that same limit obtained by another approach is considered equivalent.
EILRL: equivalence interval of the lower reference limit (LRL ± pDLRL).
EIURL: equivalence interval of the upper reference limit (URL ± pDURL).
RL: reference limit, either the lower (LRL) or the upper (URL) reference limit.
APS: analytical performance specification.
TML: truncated maximum likelihood, an indirect approach for estimating reference limits from routine laboratory data.
TMC: truncated minimum chi-square, an indirect approach for estimating reference limits from routine laboratory data.
LabRI: Laboratory Reference Interval, an indirect approach for estimating reference limits from routine laboratory data.
refineR: R package for the indirect estimation of reference intervals from routine laboratory data.
reflimR: R package for the indirect estimation of reference intervals from routine laboratory data.
References
1 - R. Haeckel, T. Ammer, W. Wosniok, A. Krebs, A. Torge, M. Özcürümez, A. Bertram, Age-and sex-specific reference intervals of total cholesterol, LDL cholesterol, HDL cholesterol and non-HDL cholesterol. Comparison of two algorithms for the indirect estimation of reference intervals, Journal of Laboratory Medicine 47 (2023) 55–62. https://doi.org/10.1515/labmed-2022-0147. | [12 empty] | Link
2 - R. Haeckel, K. Adeli, G. Jones, K. Sikaris, W. Wosniok, Definitions and major prerequisites of direct and indirect approaches for estimating reference limits, Clinical Chemistry and Laboratory Medicine (CCLM) 61 (2023) 402–406. https://doi.org/10.1515/cclm-2022-1061. | [12 empty] | Link
4 - R. Haeckel, W. Wosniok, T. Streichert, Review of potentials and limitations of indirect approaches for estimating reference limits/intervals of quantitative procedures in laboratory medicine, Journal of Laboratory Medicine 45 (2021) 35–53. https://doi.org/10.1515/labmed-2020-0131. | [12 empty] | Link
5 - E. Gurr, R. Haeckel, M. Orth, T. Streichert, Festlegung der zulässigen Messunsicherheit quantitativer Messgrößen in der Laboratoriumsmedizin, LaboratoriumsMedizin 41 (2017) 53–58. https://doi.org/10.1515/labmed-2016-0079. | [12 empty] | Link
6 - R. Haeckel, W. Wosniok, F. Arzideh, Equivalence limits of reference intervals for partitioning of population data. Relevant differences of reference limits, LaboratoriumsMedizin 40 (2016) 199–205. https://doi.org/10.1515/labmed-2016-0002. | [12 empty] | Link
7 - R. Haeckel, E. Gurr, T. Keller, Permissible measurement uncertainty in the lower part of measurement intervals, LaboratoriumsMedizin 40 (2016) 271–276. https://doi.org/10.1515/labmed-2016-0006. | [12 empty] | Link
8 - R. Haeckel, W. Wosniok, E. Gurr, B. Peil, Permissible limits for uncertainty of measurement in laboratory medicine, Clinical Chemistry and Laboratory Medicine (CCLM) 53 (2015). https://doi.org/10.1515/cclm-2014-0874. | [12 empty] | Link
9 - R. Haeckel, W. Wosniok, T. Streichert, Optimizing the use of the “state-of-the-art” performance criteria, Clinical Chemistry and Laboratory Medicine (CCLM) 53 (2015). https://doi.org/10.1515/cclm-2014-1201. | [12 empty] | Link
10 - R. Haeckel, W. Wosniok, J. Kratochvila, A. Carobene, A pragmatic proposal for permissible limits in external quality assessment schemes with a compromise between biological variation and the state of the art, Clinical Chemistry and Laboratory Medicine 50 (2012). https://doi.org/10.1515/cclm-2011-0862. | [12 empty] | Link
Tool information and attribution
Tool |  |  |  | Performance Ranking by Index of Deviation of Reference Limits (PRIDe-RL)
Version |  |  |  | 1.0.0
Release date |  |  |  | 13 Feb 2025
Author |  |  |  | Alan Carvalho Dias
ORCID |  |  |  | https://orcid.org/0000-0002-7159-4593
Corresponding e-mail |  |  |  | alancdias@hotmail.com
Website |  |  |  | https://grupolabr.com
Repository / DOI |  |  |  | https://github.com/labrgrupo/Supplementary_Material_CCA_LabRI
System requirements |  |  |  | Microsoft Excel 365 or Excel 2021 (or later). The worksheet uses dynamic array functions (LET, SORT, SEQUENCE, TEXTJOIN, UNICHAR) that are unavailable in Excel 2016/2019 and may not behave identically in LibreOffice Calc.

## Heatmap
Performance Ranking by Index of Deviation of Reference Limits (PRIDE-RL)
Heatmap: deviation of each method in pD units (¦value¦ ≤ 1 = within the equivalence interval)
Group | Analyte/Test | Unit | n | RL | TML | refineR | TMC | reflimR | LabRI
Group 1 | AMY | U/L | 533 | LRL | -3.4 | -1.8 | 0 | -0.4 | -0.4
| AMY | U/L | 533 | URL | -0.92857 | -1.5 | -1.2143 | -0.28571 | 0.071429
| Ca | mmol/L | 533 | LRL | 0 | 0.28571 | 0 | 0 | 0
| Ca | mmol/L | 533 | URL | -0.25 | -0.75 | -0.25 | -0.375 | -0.25
| LDH | IU/L | 533 | LRL | -0.4 | 0 | 0.2 | 0.2 | 0.1
| LDH | IU/L | 533 | URL | -1.5 | -1.5 | -1 | -0.375 | -0.625
| TSH | mIU/L | 533 | LRL | -0.1 | -0.9 | -0.2 | -0.6 | -0.7
| TSH | mIU/L | 533 | URL | -1.5962 | -3.1538 | -0.44231 | -0.51923 | -0.19231
| FT4 | pmol/L | 533 | LRL | -2 | 0.2 | -0.6 | 0.2 | -0.6
| FT4 | pmol/L | 533 | URL | -0.22222 | -0.88889 | -0.33333 | 0 | -0.44444
| ALT | U/L | 874 | LRL | -1 | 2.5556 | 3.6667 | -0.77778 | 0.11111
| ALT | U/L | 874 | URL | 0.30303 | 0.060606 | -0.090909 | 0.15152 | 0.27273
| GGT | U/L | 874 | LRL | -0.48 | 4.72 | -0.013333 | -0.41333 | 0.033333
| GGT | U/L | 874 | URL | -0.85501 | 0.16844 | -0.98294 | -0.81237 | -0.36034
| RBC | 10^6/μL | 992 | LRL | -0.86957 | 0.34783 | -0.086957 | -0.86957 | 0
| RBC | 10^6/μL | 992 | URL | -0.26471 | 0.11765 | -0.23529 | -0.11765 | -0.088235
| Hb | g/dL | 992 | LRL | 0.30769 | 0.61538 | 1.0769 | 0.46154 | 0.26154
| Hb | g/dL | 992 | URL | 1.625 | -0.14583 | -0.041667 | 0.16667 | -0.041667
| WBC | 10^3/μL | 992 | LRL | 1.75 | 0.071429 | 0.64286 | 0.57143 | 0.32143
| WBC | 10^3/μL | 992 | URL | 0.071429 | 0.64286 | 0.57143 | 0.78571 | 0.75
| LYM | 10^3/μL | 992 | LRL | -2.9167 | 0 | 0.41667 | 0.41667 | -0.66667
| LYM | 10^3/μL | 992 | URL | -0.44 | 0.8 | 0.12 | 0.92 | -0.76
| PLT | 10^3/μL | 992 | LRL | -1.8947 | -0.090226 | 0.58647 | -1.1429 | -0.61654
| PLT | 10^3/μL | 992 | URL | -0.033784 | 0.033784 | -0.74324 | -0.10135 | -0.33784
Group 2 | Testcase1 | n/a | 500 | LRL | 1.9 | 0.8 | 0.2 | 1 | 0.6
| Testcase1 | n/a | 500 | URL | 1.2083 | 0.58333 | 0.20833 | 0.041667 | 0.083333
| Testcase1 | n/a | 1000 | LRL | 1.1 | 1.3 | 0.3 | 1.9 | 0.6
| Testcase1 | n/a | 1000 | URL | 0.33333 | 0.45833 | -0.041667 | 2.9167 | -0.25
| Testcase1 | n/a | 2000 | LRL | 0.1 | 0.9 | 0.4 | 2.3 | 0.6
| Testcase1 | n/a | 2000 | URL | 0 | 0.16667 | -0.041667 | 2.0417 | -0.5
| Testcase1 | n/a | 5000 | LRL | 0.7 | 0 | 0.2 | 1.7 | 0.1
| Testcase1 | n/a | 5000 | URL | 0.33333 | -0.041667 | 0 | 3.5 | -0.083333
| Testcase1 | n/a | 10000 | LRL | 2.8 | 0.1 | 0.1 | 1.8 | 0.2
| Testcase1 | n/a | 10000 | URL | 0.75 | 0.041667 | 0 | 3.3333 | -0.125
| Testcase2 | n/a | 500 | LRL | -2.3393 | -3.5357 | -1.375 | -1.0357 | -0.67857
| Testcase2 | n/a | 500 | URL | 0.081967 | 0.65574 | 1.8852 | 1.6393 | 1.2131
| Testcase2 | n/a | 1000 | LRL | -2.6607 | -4.1071 | -2.5 | 0.035714 | 0.55357
| Testcase2 | n/a | 1000 | URL | -0.98361 | -0.16393 | 0.98361 | 0.16393 | 0.17213
| Testcase2 | n/a | 5000 | LRL | -2.4107 | -2.8929 | -1.1607 | 0.21429 | 0.66071
| Testcase2 | n/a | 5000 | URL | -0.90164 | -0.7377 | 0.081967 | 0.2459 | -0.090164
| Testcase2 | n/a | 10000 | LRL | -2.0893 | -1.3929 | -4.0357 | 0.035714 | -0.26786
| Testcase2 | n/a | 10000 | URL | -0.65574 | -0.2459 | 3.1967 | 0.65574 | 0.090164
| Testcase2 | n/a | 50000 | LRL | -1.4107 | -0.73214 | -4.0536 | 0.035714 | -0.089286
| Testcase2 | n/a | 50000 | URL | -0.16393 | 0 | 3.3607 | 0.90164 | 0.32787
| Testcase4 | n/a | 500 | LRL | 0 | -1 | -1 | 0 | -2
| Testcase4 | n/a | 500 | URL | -0.2 | -1 | -0.8 | -0.2 | 0
| Testcase4 | n/a | 1000 | LRL | 0 | -1 | 0 | 0 | -1
| Testcase4 | n/a | 1000 | URL | -0.8 | -1.4 | 0 | -0.4 | 0
| Testcase4 | n/a | 5000 | LRL | -2 | -2 | 1 | 0 | -2
| Testcase4 | n/a | 5000 | URL | -1.6 | -1.4 | -0.8 | -0.4 | -1.4
| Testcase4 | n/a | 10000 | LRL | 0 | -1 | 0 | 0 | 0
| Testcase4 | n/a | 10000 | URL | -0.8 | -1 | -0.4 | -0.2 | -0.6
| Testcase4 | n/a | 100000 | LRL | 0 | 0 | 0 | 0 | 0
| Testcase4 | n/a | 100000 | URL | 0 | 0 | 0 | 0 | 0
The PRIDE-RL heatmap enables a visual gestalt of method performance: the overall colour of each column indicates the better-performing method before any numerical inspection.
Legend
Green: estimate practically equal to the reference limit
Yellow: close to the edge of the equivalence interval
Orangen and Red: ¦deviation¦ > 1 pD — OUTSIDE the equivalence interval

## PRIDE-RL ranking
Performance Ranking by Index of Deviation of Reference Limits (PRIDE-RL)
PRIDE-RL score and Ordered ranking
Group 1: real-world datasets
Rank | Method | Idx | N limits | Conformity |  | Proximity |  | Tail behaviour |  | Severity |  | PRIDE-RL score | Ord (tie-break)
|  |  |  | n(¦DRL¦ ≤ 1) / N | d1 | mean(¦d¦) | d2 | P90(¦d¦) | d3 | n(¦DRL¦>2) | d4
5 | TML | 1 | 24 | 16 | 0.66667 | 0.96702 | 0.50838 | 1.9684 | 0.50802 | 2 | 0.70588 | 0.66268 | 5
4 | refineR | 2 | 24 | 18 | 0.75 | 0.8895 | 0.52924 | 2.3289 | 0.42939 | 3 | 0.61538 | 0.74076 | 4
3 | TMC | 3 | 24 | 21 | 0.875 | 0.56314 | 0.63974 | 1.0538 | 0.94891 | 1 | 0.82759 | 0.8718 | 3
2 | reflimR | 4 | 24 | 23 | 0.95833 | 0.44431 | 0.69237 | 0.85241 | 1 | 0 | 1 | 0.95539 | 2
1 | LabRI | 5 | 24 | 24 | 1 | 0.33353 | 0.74989 | 0.69 | 1 | 0 | 1 | 0.99634 | 1
Group 2: simulated test cases
Rank | Method | Idx | N limits | Conformity |  | Proximity |  | Tail behaviour |  | Severity |  | PRIDE-RL score | Ord (tie-break)
|  |  |  | n(¦D_RL¦ ≤ 1) / N | d1 | mean(¦d¦) | d2 | P90(¦d¦) | d3 | n(¦d¦>2) | d4
5 | TML | 1 | 30 | 19 | 0.63333 | 0.94409 | 0.51438 | 2.3464 | 0.42618 | 5 | 0.54545 | 0.6288 | 5
2 | refineR | 2 | 30 | 22 | 0.73333 | 0.95519 | 0.51146 | 2.0893 | 0.47863 | 3 | 0.66667 | 0.72731 | 2
3 | TMC | 3 | 30 | 22 | 0.73333 | 0.9375 | 0.51613 | 3.2131 | 0.31122 | 5 | 0.54545 | 0.724 | 3
4 | reflimR | 4 | 30 | 20 | 0.66667 | 0.8899 | 0.52913 | 2.3617 | 0.42343 | 5 | 0.54545 | 0.66117 | 4
1 | LabRI | 5 | 30 | 26 | 0.86667 | 0.47617 | 0.67743 | 1.2318 | 0.81182 | 0 | 1 | 0.86514 | 1
Global: all reference limits (Group 1 + Group 2)
Rank | Method | Idx | N limits | Conformity |  | Proximity |  | Tail behaviour |  | Severity |  | PRIDE-RL score | Ord (tie-break)
|  |  |  | n(¦D_RL¦ ≤ 1) / N | d1 | mean(¦d¦) | d2 | P90(¦d¦) | d3 | n(¦d¦>2) | d4
5 | TML | 1 | 54 | 35 | 0.64815 | 0.95428 | 0.5117 | 2.2643 | 0.44164 | 7 | 0.60674 | 0.64574 | 5
4 | refineR | 2 | 54 | 40 | 0.74074 | 0.92599 | 0.51921 | 2.3889 | 0.4186 | 6 | 0.64286 | 0.73671 | 4
3 | TMC | 3 | 54 | 43 | 0.7963 | 0.77111 | 0.56462 | 2.3156 | 0.43186 | 6 | 0.64286 | 0.79162 | 3
2 | reflimR | 4 | 54 | 43 | 0.7963 | 0.69186 | 0.59107 | 1.87 | 0.53476 | 5 | 0.68354 | 0.79273 | 2
1 | LabRI | 5 | 54 | 50 | 0.92593 | 0.41277 | 0.70783 | 0.757 | 1 | 0 | 1 | 0.92529 | 1
Ordered ranking
Pos. | Group 1 |  |  |  | Group 2 |  |  |  | Global
| Rank | method |  | PRIDE-RL score | Rank | method |  | PRIDE-RL score | Rank | method |  | PRIDE-RL score
1 | 1 | LabRI |  | 0.99634 | 1 | LabRI |  | 0.86514 | 1 | LabRI |  | 0.92529
2 | 2 | reflimR |  | 0.95539 | 2 | refineR |  | 0.72731 | 2 | reflimR |  | 0.79273
3 | 3 | TMC |  | 0.8718 | 3 | TMC |  | 0.724 | 3 | TMC |  | 0.79162
4 | 4 | refineR |  | 0.74076 | 4 | reflimR |  | 0.66117 | 4 | refineR |  | 0.73671
5 | 5 | TML |  | 0.66268 | 5 | TML |  | 0.6288 | 5 | TML |  | 0.64574

## PRIDe-RL scoring framework
Performance Ranking by Index of Deviation of Reference Limits (PRIDE-RL)
PRIDe-RL scoring framework
d1 — Conformity
d2 — Proximity
d3 — Tail behaviour
d4 — Severity
𝒅_(𝟏,𝒊)=(∑1_(𝒋=𝟏)^(𝑵_𝒊)▒𝟏(|𝑫_(𝑹𝑳,𝒊𝒋) 𝒊𝒏𝒅𝒆𝒙|≤𝟏) )/𝑵_𝒊
𝒅_(𝟐,𝒊)=𝟏/(𝟏+(∑1_(𝒋=𝟏)^(𝑵_𝒊)▒|𝐃_(𝐑𝐋,𝐢𝐣) 𝒊𝒏𝒅𝒆𝒙| )/𝑵_𝒊 )
𝒅_(𝟑,𝒊)=𝟏/(𝟏+𝒎𝒂𝒙[■(𝟎,&𝑷_(𝟗𝟎,𝒊) (|𝑫_(𝑹𝑳,𝒊𝒋) 𝒊𝒏𝒅𝒆𝒙|) )−𝟏] )
𝒅_(𝟒,𝒊)=𝟏/(𝟏+𝟓×[(∑1_(𝒋=𝟏)^(𝑵_𝒊)▒𝟏(|𝑫_(𝑹𝑳,𝒊𝒋) 𝒊𝒏𝒅𝒆𝒙|>𝟐) )/𝑵_𝒊 ] )

## References
Performance Ranking by Index of Deviation of Reference Limits (PRIDe-RL)
References
References
1 - R. Haeckel, T. Ammer, W. Wosniok, A. Krebs, A. Torge, M. Özcürümez, A. Bertram, Age-and sex-specific reference intervals of total cholesterol, LDL cholesterol, HDL cholesterol and non-HDL cholesterol. Comparison of two algorithms for the indirect estimation of reference intervals, Journal of Laboratory Medicine 47 (2023) 55–62. https://doi.org/10.1515/labmed-2022-0147. |  |  | Link
2 - R. Haeckel, K. Adeli, G. Jones, K. Sikaris, W. Wosniok, Definitions and major prerequisites of direct and indirect approaches for estimating reference limits, Clinical Chemistry and Laboratory Medicine (CCLM) 61 (2023) 402–406. https://doi.org/10.1515/cclm-2022-1061. |  |  | Link
3 - R. Haeckel, W. Wosniok, T. Streichert, Review of potentials and limitations of indirect approaches for estimating reference limits/intervals of quantitative procedures in laboratory medicine, Journal of Laboratory Medicine 45 (2021) 35–53. https://doi.org/10.1515/labmed-2020-0131. |  |  | Link
4 - E. Gurr, R. Haeckel, M. Orth, T. Streichert, Festlegung der zulässigen Messunsicherheit quantitativer Messgrößen in der Laboratoriumsmedizin, LaboratoriumsMedizin 41 (2017) 53–58. https://doi.org/10.1515/labmed-2016-0079. |  |  | Link
5 - R. Haeckel, W. Wosniok, F. Arzideh, Equivalence limits of reference intervals for partitioning of population data. Relevant differences of reference limits, LaboratoriumsMedizin 40 (2016) 199–205. https://doi.org/10.1515/labmed-2016-0002. |  |  | Link
6 - R. Haeckel, E. Gurr, T. Keller, Permissible measurement uncertainty in the lower part of measurement intervals, LaboratoriumsMedizin 40 (2016) 271–276. https://doi.org/10.1515/labmed-2016-0006. |  |  | Link
7 - R. Haeckel, W. Wosniok, E. Gurr, B. Peil, Permissible limits for uncertainty of measurement in laboratory medicine, Clinical Chemistry and Laboratory Medicine (CCLM) 53 (2015). https://doi.org/10.1515/cclm-2014-0874. |  |  | Link
8 - R. Haeckel, W. Wosniok, T. Streichert, Optimizing the use of the “state-of-the-art” performance criteria, Clinical Chemistry and Laboratory Medicine (CCLM) 53 (2015). https://doi.org/10.1515/cclm-2014-1201. |  |  | Link
9 - R. Haeckel, W. Wosniok, J. Kratochvila, A. Carobene, A pragmatic proposal for permissible limits in external quality assessment schemes with a compromise between biological variation and the state of the art, Clinical Chemistry and Laboratory Medicine 50 (2012). https://doi.org/10.1515/cclm-2011-0862. |  |  | Link
10 - E. Colet, D. Aaronson, Visualization of multivariate data: Human-factors considerations, Behavior Research Methods, Instruments, & Computers 27 (1995) 257–263. https://doi.org/10.3758/BF03204742. |  |  | Link
11 - S. Engle, S. Whalen, A. Joshi, K.S. Pollard, Unboxing cluster heatmaps, BMC Bioinformatics 18 (2017) 63. https://doi.org/10.1186/s12859-016-1442-6. |  |  | Link
12 - T. Ammer, A. Schützenmeister, H.-U. Prokosch, J. Zierk, C.M. Rank, M. Rauh, RIbench: A Proposed Benchmark for the Standardized Evaluation of Indirect Methods for Reference Interval Estimation, Clinical Chemistry 68 (2022) 1410–1424. https://doi.org/10.1093/clinchem/hvac142. |  |  | Link
13 - L.M. Weber, W. Saelens, R. Cannoodt, C. Soneson, A. Hapfelmeier, P.P. Gardner, A.-L. Boulesteix, Y. Saeys, M.D. Robinson, Essential guidelines for computational method benchmarking, Genome Biol 20 (2019) 125. https://doi.org/10.1186/s13059-019-1738-8. |  |  | Link
14 - J. Smolander, S. Junttila, L.L. Elo, Cell-connectivity-guided trajectory inference from single-cell data, Bioinformatics 39 (2023) btad515. https://doi.org/10.1093/bioinformatics/btad515. |  |  | Link
Tool information and attribution
Tool |  | Performance Ranking by Index of Deviation of Reference Limits (PRIDe-RL)
Version |  | 1.0.0
Release date |  | 13 Feb 2025
Author |  | Alan Carvalho Dias
ORCID |  | https://orcid.org/0000-0002-7159-4593
Corresponding e-mail |  | alancdias@hotmail.com
Website |  | https://grupolabr.com
Repository / DOI |  | https://github.com/labrgrupo/Supplementary_Material_CCA_LabRI
System requirements |  | Microsoft Excel 365 or Excel 2021 (or later). The worksheet uses dynamic array functions (LET, SORT, SEQUENCE, TEXTJOIN, UNICHAR) that are unavailable in Excel 2016/2019 and may not behave identically in LibreOffice Calc.